Application No.:  391633

Equipment Category – Dryer or Oven

| 1. GENERAL INFORMATION |  | DATE: 9/6/2002 |
| --- | --- | --- |
| a. manufacturer: American Laundry |
| b. type: Tumbler | c. model: 438 |
| d. style: |
| e. applicable aqmd rules: None |
| f. cost: $ () source of cost data: |
| g. operating schedule: 14 hrs/day 5 days/wk 52 wks/yr |

| 2. EQUIPMENT INFORMATION |  | App. No.: 391633 |
| --- | --- | --- |
| A. FUNCTION: Clothes dryer |
| B. maximum Heat Input: 3.5 MMBtu/hr | C. maximum throughput: Two 800 lb loads/hr |
| D. burner information: no.: 1 type: Low-NOx |
| e. primary fuel: Natural Gas | f. other fuel: LPG |
| g. operating conditions: Average load = 30%. Average heat input = 1.5 MMBtu/hr |

| 3. COMPANY INFORMATION |  | App. No.: 391633 |
| --- | --- | --- |
| A. NAME: Aramark Uniform Services | B. SIC CODE: 7218 |
| C. ADDRESS: 4422 E. Dunham Street CITY: Los Angeles STATE: CA ZIP: 90023 |
| D. CONTACT PERSON: Yevgenu (Gene) Sherman | E. PHONE NO.: 323-266-0555 |

| 4. PERMIT INFORMATION |  | App. No.: 391633 |
| --- | --- | --- |
| A. AGENCY: SCAQMD | B. application type: |
| C. AGENCY CONTACT PERSON: Amir Dejbakhsh | D. PHONE NO.: 909-396-2618 |
| E. PERMIT TO CONSTRUCT/OPERATE INFORMATION: P/C NO.: ISSUANCE DATE: check if no p/c P/O NO.: F45790 ISSUANCE DATE: 10/27/2001 |
| F. START-UP DATE: Late in 2000 |

| 5. EMISSION INFORMATION |  | App. No.: 391633 |
| --- | --- | --- |
| A. PERMIT |
| A1. PERMIT LIMIT: NOx not to exceed 30 PPM at 3% O2 |
| A2. bact/lAer DETERMINATION: NOx not to exceed 30 PPM at 3% O2 |
| a3. BASIS OF THE BACT/LAER DETERMINATION: Part D of BACT Guidelines |
| B. CONTROL TECHNOLOGY |
| B1. MANUFACTURER/SUPPLIER: Maxon |
| B2. TYPE: Cyclomax |
| B3. DESCRIPTION: Low-NOx burner |
| B4. CONTROL EQUIPMENT PERMIT APPLICATION DATA: P/C NO.: ISSUANCE DATE: P/O NO.: ISSUANCE DATE: |
| B5. WASTE AIR FLOW TO CONTROL EQUIPMENT: FLOW RATE: ACTUAL CONTAMINANT LOADING: BLOWER HP: |
| B6. WARRANTY: 30 PPM NOx, corrected to 3% O2 |
| B7. PRIMARY POLLUTANTS: NOx, CO, SOx, PM10 |
| B8. SECONDARY POLLUTANTS: None |
| B9. SPACE REQUIREMENT: |
| B10. LIMITATIONS: | B11. UNUSED |
| B12. OPERATING HISTORY: This unit has been operating for nearly two years, with no significant operational problems. |
| B13. UNUSED | B14. UNUSED |
| C. CONTROL EQUIPMENT COSTS |
| C1. CAPITAL COST: check if installation cost is included in EQUIPMENT cost EQUIPMENT: $ INSTALLATION: $ () SOURCE OF COST DATA: |
| C2. ANNUAL OPERATING COST: $ () SOURCE OF COST DATA: |
| D. DEMONSTRATION OF COMPLIANCE |
| D1. STAFF PERMFORMING FIELD EVALUATION: ENGINEER'S NAME: INSPECTOR'S NAME: Victor Yip DATE: 4/9/2002 |
| D2. COMPLIANCE DEMONSTRATION: No problems with tumbler operation noted. |
| D3. VARIANCE: NO. OF VARIANCES: DATES: CAUSES: |
| D4. VIOLATION: NO. OF VIOLATIONS: 1 DATES: 4/9/2002 CAUSES: Late with Rule 1146 testing of water heater |
| D5. MAINTENANCE REQUIREMENTS: | D6. UNUSED |
| D7. SOURCE TEST/PERFORMANCE DATA RESULTS AND ANALYSIS: DATE OF SOURCE TEST: Not required CAPTURE EFFICIENCY: DESTRUCTION EFFICIENCY: OVERALL EFFICIENCY: SOURCE TEST/PERFORMANCE DATA: OPERATING CONDITIONS: TEST METHODS: |

| 6. COMMENTS |  | App. No.: 391633 |
| --- | --- | --- |